| Subject Code 22PE1ME411 |  |  |  |  |  |  |  |  | R22 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

VNR VIGNANA JYOTHI INSTITUTE OF ENGINEERING AND TECHNOLOGY

(AUTONOMOUS)

B.Tech. IV Year II Semester Regular Examinations, May 2026

POWER PLANT ENGINEERING

(ME)

Time: 3 hours                                                                   				Max. Marks: 60

Answer ALL questions in PART-A.

Answer any ONE question from each unit in PART-B.

PART–A 				             5X2=10M

|  | List the main circuits of a steam power plant. | 2M | CO-1 | BL-1 |
| --- | --- | --- | --- | --- |
|  | State any two advantages and disadvantages of a diesel power plant. | 2M | CO-1 | BL-1 |
|  | What do you understand by pondage in a hydroelectric power plant? Explain briefly. | 2M | CO-2 | BL-1 |
|  | What is the purpose of control rods? | 2M | CO-2 | BL-1 |
|  | Write the relation between load factor and average load. | 2M | CO-4 | BL-1 |

PART- B 				           5X10=50M

| UNIT-I |  |  |  |  |
| --- | --- | --- | --- | --- |
| 1 | - Discuss the necessity of feed water treatment in boiler operation. | 5M | CO-1 | BL-2 |
|  | - Describe the pulverized fuel firing system used in coal-based thermal power plants. | 5M | CO-1 | BL-2 |
| OR |  |  |  |  |
| 2 | Draw a neat sketch of the Hydraulic Ash Handling System and explain its working in detail. | 10M | CO-2 | BL-2 |
| UNIT-II |  |  |  |  |
| 3 | - Explain the fuel supply system in a diesel power plant. | 5M | CO-1 | BL-2 |
|  | - Explain the factors affecting the cost of a diesel power plant. | 5M | CO-1 | BL-2 |
| OR |  |  |  |  |
| 4 | Draw the layout of a diesel power plant and explain the function of its auxiliaries. | 10M | CO-2 | BL-2 |
| UNIT-III |  |  |  |  |
| 5 | - With a neat sketch, explain the layout of an open cycle gas turbine plant. | 5M | CO-1 | BL-2 |
|  | - Explain the hydrological cycle with a neat diagram. | 5M | CO-2 | BL-2 |
| OR |  |  |  |  |
| 6 | Describe the typical layout of a hydroelectric power plant and explain the function of each component. | 10M | CO-1 | BL-2 |
| UNIT-IV |  |  |  |  |
| 7 | - List out the various factors to be considered while selecting the site for nuclear power stations. | 5M | CO-1 | BL-2 |
|  | - Differentiate between Horizontal Axis Wind Turbine (HAWT) and Vertical Axis Wind Turbine (VAWT). | 5M | CO-2 | BL-3 |
| OR |  |  |  |  |
| 8 | Explain the construction and working of a hydrogen-oxygen fuel cell. Discuss its advantages and applications. | 10M | CO-1 | BL-2 |
| UNIT-V |  |  |  |  |
| 9 | - Write a short note on the following i). load factor ii). diversity factor iii). demand factor iv). average load. | 5M | CO-4 | BL-2 |
|  | - Analyze the environmental impact of effluents discharged from power plants and apply suitable mitigation measures to minimize their adverse effects. | 5M | CO-3 | BL-3 |
| OR |  |  |  |  |
| 10 | Discuss different types of load curves and explain their importance in power plant design and operation. | 10M | CO-4 | BL-2 |

****