| Subject Code 22PC1IN201 |  |  |  |  |  |  |  |  | R22 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

VNR VIGNANA JYOTHI INSTITUTE OF ENGINEERING AND TECHNOLOGY

(AUTONOMOUS)

B.Tech. II Year II Semester Regular and Supplementary Examinations, May 2026

SENSORS AND DEVICES

(CS-IoT)

Time: 3 hours                                                                        			 	Max. Marks: 60

Answer ALL questions in PART-A.

Answer any ONE question from each unit in PART-B.

PART–A 				             5X2=10M

|  | Define a sensor. Give two examples. | 2M | CO-1 | BL-1 |
| --- | --- | --- | --- | --- |
|  | Explain frequency counter? | 2M | CO-2 | BL-2 |
|  | Explain the purpose of a voltage divider circuit? | 2M | CO-3 | BL-2 |
|  | What is meant by excitation in smart sensors? | 2M | CO-4 | BL-1 |
|  | What is Raspberry Pi? | 2M | CO-5 | BL-1 |

PART- B 				           5X10=50M

| UNIT-I |  |  |  |  |
| --- | --- | --- | --- | --- |
| 1 | - Describe static and dynamic characteristics of sensors in detail. | 5M | CO-1 | BL-2 |
|  | - Discuss the working and characteristics of a light sensor (LDR). | 5M | CO-1 | BL-2 |
| OR |  |  |  |  |
| 2 | Discuss the construction and operation of stepper motors. | 10M | CO-1 | BL-2 |
| UNIT-II |  |  |  |  |
| 3 | - Explain sensor interfacing techniques with block diagram. | 5M | CO-2 | BL-2 |
|  | - Interpret about ADC and their applications. | 5M | CO-2 | BL-3 |
| OR |  |  |  |  |
| 4 | Describe the operation of PWM generation and demodulation in detail. | 10M | CO-2 | BL-2 |
| UNIT-III |  |  |  |  |
| 5 | - Describe the construction and operation of instrumentation amplifier. | 5M | CO-3 | BL-2 |
|  | - Interpret the working of programmable gain amplifier with block diagram. | 5M | CO-3 | BL-3 |
| OR |  |  |  |  |
| 6 | Explain objectives and configuration of Data Acquisition system. | 10M | CO-3 | BL-3 |
| UNIT-IV |  |  |  |  |
| 7 | - Interpret different data communication methods used in smart sensors. | 5M | CO-4 | BL-3 |
|  | - Interpret the working of primary sensors in smart sensor systems. | 5M | CO-4 | BL-3 |
| OR |  |  |  |  |
| 8 | Interpret the importance of Information coding/processing in smart sensors. | 10M | CO-4 | BL-3 |
| UNIT-V |  |  |  |  |
| 9 | - Explain interfaces (Serial, SPI, I2C) in detail. | 5M | CO-5 | BL-2 |
|  | - Interpret interfacing of LED and buzzer with Raspberry Pi. | 5M | CO-5 | BL-3 |
| OR |  |  |  |  |
| 10 | Analyze safety considerations while controlling AC devices using relays. | 10M | CO-5 | BL-4 |

****