| Subject Code 22PC1EI303 |  |  |  |  |  |  |  |  | R22 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

VNR VIGNANA JYOTHI INSTITUTE OF ENGINEERING AND TECHNOLOGY

(AUTONOMOUS)

B.Tech. III Year II Semester Regular and Supplementary Examinations, May 2026

Process Control Automation

(EIE)

Time: 3 hours                                                                        			 	Max. Marks: 60

Answer ALL questions in PART-A.

Answer any ONE question from each unit in PART-B.

PART–A 				             5X2=10M

|  | What are the advantages of PLC? | 2M | CO-1 | BL-1 |
| --- | --- | --- | --- | --- |
|  | What is ladder diagram? How is it different than normal circuit diagram? | 2M | CO-2 | BL-1 |
|  | What are the different timers used in PLC? | 2M | CO-2 | BL-2 |
|  | What standard format is used for PLC math instructions? | 2M | CO-1 | BL-1 |
|  | State different control output configurations in DCS | 2M | CO-4 | BL-1 |

PART- B 				           5X10=50M

| UNIT-I |  |  |  |  |
| --- | --- | --- | --- | --- |
| 1 | - Describe the basic circuitry and applications for discrete I/O modules. | 5M | CO-1 | BL-2 |
|  | - Describe the operation of analog I/O modules with an example. | 5M | CO-1 | BL-2 |
| OR |  |  |  |  |
| 2 | Draw and Explain the Programmable Logic Controller (PLC) architecture. Also, briefly discuss the importance of sourcing and sinking. | 10M | CO-2 | BL-1 |
| UNIT-II |  |  |  |  |
| 3 | - Explain about program control instructions with neat diagram | 5M | CO-2 | BL-2 |
|  | - Design a ladder diagram for a Full Adder. | 5M | CO-2 | BL-4 |
| OR |  |  |  |  |
| 4 | a) Explain the PLC Scan cycle with a suitable example. b) With an example explain bit-level instructions of PLC programming. | 5M 5M | CO-1 CO-2 | BL-2 BL-5 |
| UNIT-III |  |  |  |  |
| 5 | - Describe the operation of the master control reset instruction and develop an elementary program. | 5M | CO-3 | BL-2 |
|  | - Demonstrate an example using instruction list of PLC programming. | 5M | CO-2 | BL-3 |
| OR |  |  |  |  |
| 6 | After a count of 15 from sensor, a paint spray is to run for 25 seconds. Construct a ladder diagram that accomplishes the count and time operations. | 10M | CO-2 | BL-3 |
| UNIT-IV |  |  |  |  |
| 7 | - Implement a ladder for a Continuous Bottle-filling system. | 5M | CO-3 | BL-4 |
|  | - Illustrate the working of the Smart transmitter using a suitable diagram. | 5M | CO-2 | BL-2 |
| OR |  |  |  |  |
| 8 | Discuss in detail about Smart Transmitters, smart valves and smart actuators. | 10M | CO-3 | BL-4 |
| UNIT-V |  |  |  |  |
| 9 | - Compare SCADA, DCS and PLC | 5M | CO-4 | BL-4 |
|  | - Illustrate the significance of tags in SCADA design. | 5M | CO-4 | BL-2 |
| OR |  |  |  |  |
| 10 | Discuss in detail about the architecture of a SCADA system and describe the functions of SCADA elements. | 10M | CO-4 | BL-4 |

****